## README
Template to record Growth facilities information
This spreadsheet serves as a template for collecting information and establishing naming conventions for APPN growth facilities and types.
1. Please only fill the columns in the growth facility template indicated with an asterisk (*) and highlighted in red.
2. For every growth facility name/ID listed please add a growth facilty type, we will compared and standardise all the vocabulary once all the nodes give the information.
For any questions, please contact Liliana Andres at liliana.andreshernandez@adelaide.edu.au.

## growth facility
organisation | growth facility name * | growth facility description * | growth facility type * | growth facility type brand * | growth facility model * | growth facility serial number * | containment level * | quarantine details * | growth facility ontology label | growth facility ontology ID | growth facility ontology IRI
AU | GH01 | Greenhouse of size 24m (3*8) and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 2 x 150w floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 50%, 90% (not installed). Water supply includes options of cold, R.O., rain. Speciality: vip. | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH02 | Greenhouse of size 24m (3*8) with louvre window 2 to corridor and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 150w floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH03 | Greenhouse of size 48m (6 *8) with louvre window 1 to outside and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 4 x 400w floods, 2 x 36w fluros. Power of 2 x BMS, 2 x GPO. Shades of 0.5. Water supply includes options of 2 x cold, 2 x R.O., 2 x rain. Speciality: rice | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH04 | Greenhouse of size 24m (3*8) with louvre window 2 to corridor and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 150w floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH05 | Greenhouse of size 24m (3*8) and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 150w floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH06 | Greenhouse of size 48m (6 *8) and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 4 x 400w floods, 2 x 36w fluros. Power of 2 x BMS, 2 x GPO. Shades of 0.5. Water supply includes options of 2 x cold, 2 x R.O., 2 x rain. Speciality: rice | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH07 | Greenhouse of size 24m (3*8) with louvre window 1 to outside and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 150w floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH08 | Greenhouse of size 24m (3*8) and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 4 x 90w led floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain. Speciality: bio security area | greenhouse |  |  |  | PC2 | BC5.2.4 | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH09 | Greenhouse of size 24m (3*8) and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 4 x 90w led floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain. Speciality: bio security area | greenhouse |  |  |  | PC2 | BC5.2.4 | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH10 | Greenhouse of size 24m (3*8) and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 4 x 90w led floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain. Speciality: bio security area | greenhouse |  |  |  | PC2 | BC5.2.4 | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH11 | Greenhouse of size 24m (3*8) and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 4 x 75w led floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain. Speciality: bio security area | greenhouse |  |  |  | PC2 | BC5.2.4 | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH12 | Greenhouse of size 24m (3*8) with louvre window 1 to outside and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 2 x 150w floods, 10 x fixed spectrum grow lights. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH13 | Greenhouse of size 48m (6 *8) with louvre window 2 to outside and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 400w floods, 2 x 36w fluros, 15 x fixed spectrum grow lights. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain. Speciality: fire exit door | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH14 | Greenhouse of size 24m (3*8) with louvre window 2 to corridor and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 150w floods, 1 x 36w fluro, 10 x fixed spectrum grow lights. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH15 | Greenhouse of size 24m (3*8) with louvre window 1 to outside and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 5 x 150w floods, 1 x 36w fluro, 10 x fixed spectrum grow lights. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH16 | Greenhouse of size 48m (6 *8) with louvre window 1 to outside and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 400w floods, 2 x 36w fluros, 15 x fixed spectrum grow lights. Power of 2 x BMS, 2 x GPO. Shades of 0.5. Water supply includes options of 2 x cold, 2 x R.O., 2 x rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH17 | Greenhouse of size 24m (3*8) with louvre window 2 to corridor and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 5 x 150w floods, 1 x 36w fluro, 10 x fixed spectrum grow lights. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH18 | Greenhouse of size 24m (3*8) and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 5 x 150w floods, 1 x 36w fluro, 8 x fixed spectrum grow lights. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain. Speciality: vip | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH19 | Greenhouse of size 24m (3*8) and A/C type chilled. Temperature range of 25 cooling 19 heating. Light system 2 x 150w floods, 1 x 36w fluro, 10 x fixed spectrum grow lights. Power of 1 x BMS, 1 x GPO. Shades of 50% blockout. Water supply includes options of 3 x cold, 3 x R.O., 3 x rain. Speciality: vip | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH20 | Greenhouse of size 72m (9*8) and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 400w floods, 36 x philips fixed spectrum grow lights. Power of 3 x BMS, 3 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH21 | Greenhouse of size 24m (3*8) and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 150w floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH22 | Greenhouse of size 24m (3*8) and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 150w floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH23 | Greenhouse of size 48m (6 *8) and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 3 x 400w floods, 2 x 36w fluros. Power of 2 x BMS, 2 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain. Speciality: xray | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH24 | Greenhouse of size 24m (3*8) and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 150w floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH25 DS | Greenhouse of size 24m (3*8) and A/C type chilled. Temperature range of 25 cooling 19 heating. Light system 4 x 150w floods, 12 x philips fixed spectrum grow lights. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain. Speciality: drought spotter | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH26 | Greenhouse of size 24m (3*8) and A/C type AHU. Temperature range of 26 cooling, 19 heating. Light system 4 x 150w floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH27 | Greenhouse of size 24m (3*8) and A/C type AHU. Temperature range of 27 cooling, 19 heating. Light system 4 x 90w led floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain. Speciality: bio security area | greenhouse |  |  |  | PC2 | BC5.2.4 | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH28 | Greenhouse of size 24m (3*8) and A/C type AHU. Temperature range of 28 cooling, 19 heating. Light system 4 x 90w x led floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain. Speciality: bio security area | greenhouse |  |  |  | PC2 | BC5.2.4 | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH29 | Greenhouse of size 24m (3*8) and A/C type evap/heat coil. Temperature range of 27 cooling, 19 heating. Light system 4 x 54w x led floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH30 | Greenhouse of size 48m (6 *8) and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 54w x led floods, 2 x 36w fluro. Power of 2 x BMS, 2 x GPO. Shades of 0.5. Water supply includes options of 2 x cold, 2 x R.O., 2 x rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH31 | Greenhouse of size 24m (3*8) and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 2 x 150w floods, 2 x 54w x led floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH32 | Greenhouse of size 24m (3*8) and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 150w floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH33 | Greenhouse of size 72m (9*8) and A/C type evap cooling/hydroponic heat. Temperature range of 27 cooling 19 heating. Light system 4 x 400w floods, 2 x 36w fluros, 20 x fixed spectrum grow lights. Power of 3 x BMS, 3 x GPO. Shades of 0.5. Water supply includes options of 3 x cold, 3 xR.O., 3 x rain | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | GH34 | Greenhouse of size 24m (3*8) and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 2 x 150w floods, 1 x 36w fluro. Power of 1 x BMS, 1 x GPO. Shades of 0.5. Water supply includes options of cold, R.O., rain. Speciality: vip | greenhouse |  |  |  | PC2 |  | greenhouse | ENVO:03600087 | http://purl.obolibrary.org/obo/ENVO_03600087
AU | IMGA | Imaging hall north, size 141.4m and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 9 x 36w fluro. Power of 7 x GPO. Shades of 0.5. Water supply includes options of 2 x cold, 2 x R.O., 2 x rain. Speciality: lemnatec imaging system | Imaging hall
AU | SHB | Smarthouse north west, size 132.1m with louvre window 2 to corridor and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 6 x 400w hpi-t symmetry floods, 4 x 36w fluro. Power of 2 x BMS, 4 x GPO. Shades of 0.5. Water supply includes options of 1 x rain | smarthouse
AU | SHC | Smarthouse south west, size 143.2m with louvre window 2 to corridor and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 6 x 400w hpi-t symmetry floods, 4 x 36w fluro. Power of 2 x BMS, 4 x GPO. Shades of 0.5. Water supply includes options of 1 x rain | smarthouse
AU | IMGD | Imaging hall south, size 140.2m and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 7 x 36w fluro. Power of 8 x GPO. Shades of 0.5. Water supply includes options of 4 x cold, 4 x R.O., 4 x rain | imaging hall |  |  |  | PC2
AU | SHE | Smarthouse south east, size 142.2m with louvre window 2 to corridor and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 5 x zones of fixed spectrum led light bars, 3 x 400w hpi-t symmetry floods, 4 x 36w fluro. Power of 2 x BMS, 4 x GPO. Shades of 0.5. Water supply includes options of 1 x rain. Speciality: up to 1000 umol, daylight compensating | smarthouse |  |  |  | PC2
AU | SHF | Smarthouse south west, size 143.2m with louvre window 2 to corridor and A/C type AHU. Temperature range of 25 cooling 19 heating. Light system 5 x zones of fixed spectrum led light bars, 3 x 400w hpi-t symmetry floods, 4 x 36w fluro. Power of 2 x BMS, 4 x GPO. Shades of 0.5. Water supply includes options of 1 x rain. Speciality: up to 1000 umol, daylight compensating | smarthouse |  |  |  | PC2
AU | RI.1 | Reach-in cabinet, size 1.9 m2, height 1.46 m. Temperature system with lights on 10 to 40, lights off 4 to 40. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of power/ instrument access hole | reach-in cabinet | conviron | PGC 20 | 100168 | PC2
AU | RI.2 | Reach-in cabinet, size 1.9 m2, height 1.46 m. Temperature system with lights on 10 to 40, lights off 4 to 40. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of power/ instrument access hole | reach-in cabinet | conviron | PGC 20 | 100166 | PC2
AU | RI.3 | Reach-in cabinet, size 1.9 m2, height 1.46 m. Temperature system with lights on 10 to 40, lights off 4 to 40. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of power/ instrument access hole | reach-in cabinet | conviron | PGC 20 | 100167 | PC2
AU | RI.4 | Reach-in cabinet, size 1.9 m2, height 1.46 m. Temperature system with lights on 10 to 40, lights off 4 to 40. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of power/ instrument access hole | reach-in cabinet | conviron | PGC 20 | 100169 | non-PC2
AU | RI.5 | Reach-in cabinet, size 1.9 m2, height 1.46 m. Temperature system with lights on 10 to 40, lights off 4 to 40. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of power/ instrument access hole | reach-in cabinet | conviron | PGC 20 | 100170 | non-PC2
AU | RI.6 | Reach-in cabinet, size 1.9 m2, height 1.46 m. Temperature system with lights on 10 to 40, lights off 4 to 40. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of power/ instrument access hole | reach-in cabinet | conviron | PGC 20 flex | 100165 | non-PC2
AU | RI.7 | Reach-in cabinet, size 1.9 m2, height 1.46 m. Temperature system with lights on 10 to 40, lights off 4 to 40. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of power/ instrument access hole | reach-in cabinet | conviron | PGC 20 flex | 100164 | non-PC2
AU | WI.1 | Walk-in growth room, size 7.5 m2, height 2.4m. Temperature system with lights on10 to 37, lights off 4 to 37. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of 1 x GPO. Water supply includes options of cold, R.O. | walk-in growth room | conviron | BDW 80 | 100158-LED | PC2
AU | WI.2 | Walk-in growth room, size 11.3 m2, height 2.4m. Temperature system with lights on10 to 37, lights off 4 to 37. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of 1 x GPO. Water supply includes options of cold, R.O. | walk-in growth room | conviron | BDW 120 | 100159-LED | PC2
AU | WI.3 | Walk-in growth room of size 13.5 m2, height 2m. Temperature system with lights on 15 to 35, lights off 10 to 35. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of 2 x GPO. Water supply includes options of cold, R.O. | walk-in growth room | conviron | MTPS 216 | 100162 | PC2
AU | WI.4 | Walk-in growth room of size 13.5 m2, height 2m. Temperature system with lights on 15 to 35, lights off 10 to 35. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of 2 x GPO. Water supply includes options of cold, R.O. | walk-in growth room | conviron | MTPS 216 | 100163 | PC2
AU | WI.5 | Walk-in growth room of size 11.3 m2, height 2.4m. Temperature system with lights on10 to 37, lights off 4 to 37. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of 1 x GPO. Water supply includes options of cold, R.O. | walk-in growth room | conviron | BDW 120 | 100160-LED | non-PC2
AU | WI.6 | Walk-in growth room of size 11.3 m2, height 2.4m. Temperature system with lights on10 to 37, lights off 4 to 37. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of 1 x GPO. Water supply includes options of cold, R.O. | walk-in growth room | conviron | BDW 120 | 100161-LED | non-PC2
AU | WI.7 | Walk-in growth room of size 15.8 m2. Temperature system with lights on 15 to 35, lights off 10 to 35. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of 2 x GPO. Water supply includes options of rain(watering), R.O.(humidity) | walk-in growth room | conviron | GR 96 | 170166 | PC2
AU | WI.8 | Walk-in growth room of size 15.8 m2. Temperature system with lights on 15 to 35, lights off 10 to 35. Humidity range of up to 90%. Light intensity 20 - 1000 umol/m2/s. Power of 2 x GPO. Water supply includes options of rain(watering), R.O.(humidity) | walk-in growth room | conviron | GR 96 | 170165 | PC2
AU | GEN1000 | Reach-in growth chamber, conviron size 0.53 m2 per shelf. Temperature system with lights on 6 to 45, lights off 4 to 45. Light intensity 550 per shelf (2 shelves) umol/m2/s. Shades of gen 1000 info. Short plant | reach-in growth chamber | conviron |  | 200505 | PC2
AU | sanyo MLR-351 | Growth chamber size 0.2 m2 per shelf, up to 5 shelves. Temperature system with lights on 10 to 45, lights off 4 to 45. Light intensity 0-210 umol/m2/s. Shades of sanyo mlr-351 | growth chamber | sanyo | MLR-351 |  | PC2
Note on C1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Add more details in here, footprint, space, quarantine, PC level.