## Instructions
APPN Adelaide University vocabularies
This spreadsheet will be used to generate publicly accessible terms (definitions) for key parts of Adelaide University’s plant phenotyping workflows.
Rows in the other sheets of this document will each produce a term associated with a fixed URL. Rows in the Trait sheet will each produce three separate but linked terms (one for the Trait, one for the Method used to collect Trait values, and one for an ObservedVariable that combines the Trait with a specified Method and Scale). Rows in the Authors sheet will not generate terms – this sheet is to document the authors responsible for the terms in other sheets.
The web-accessible terms will each be published as a web page showing the associated properties and links. The same information will be accessible in multiple machine-readable formats to support software processing of Adelaide University plant phenotyping data.
The main purpose of these terms is to make links between different published datasets that reuse the same equipment or concepts. The URL generated for each term serves as a persistent identifier (PID) that indicates which data can safely be combined (faceted) for meta-analysis.
Basic principles
The name column in each sheet should contain a name (label) that accurately identifies the equipment or concept referenced. Names should primarily be those that will be most naturally understood within the APPN Adelaide University node. The name value will be shown whenever the equipment or concept is referenced. It will also be included (with modifications to remove any special characters) as part of the URL/PID identifying the term.
The description column should hold an English-language description that provides more explanatory detail relating to the equipment or concept referenced.
The altLabel column can be used to provide any other names or labels (including abbreviations) that are commonly used to refer to the equipment or concept. A cell in this column should contain just one name. If multiple alternative labels are in use, add additional columns as required using altLabel2, altLabel3, etc. as the column heading. All empty cells will be ignored.
The exactMatch column should be used to identify a matching term found in a widely used vocabulary/ontology. Such terms should be identified using their URI (URL). See below under the instructions for individual sheets for specific instructions. If multiple exact matches are known, supply the preferred one in this column and add columns as required using exactMatch2, exactMatch3, etc. as the column heading. All empty cells will be ignored.
Where present, the broader column can be used to identify a term that is more inclusive than the one being defined. This has two main uses. In the BiologicalMaterial sheet, supported values come from the name column in the same sheet, the idea being that this allows terms to be organised according to a taxonomic classification, e.g. that wheat is included within grain(s) and that grain(s) are included within plants as a whole. In other sheets, the expected value is the URL representation for a term defined in a vocabulary or ontology where this is for a broader category than the term being defined. Where an exactMatch can be supplied, there is no need to enter any value for broader (except in the case of BiologicalMaterial). If needed, additional broader2, broader3 columns may be added.
Trait
The Trait sheet is the most complex. This is because it is being used to define both the underlying concept that a phenotyping study seeks to measure (the Trait) and also how the concept is used with a given Method and Scale to deliver actual measurements (the ObservedVariable). The sheet is designed to mask this complexity as far as possible. Please discuss with the APPN Central Data Team (CDT) if clarification is needed. Definitions for Scales are in a separate sheet, since these are in some cases likely to be repeated across multiple traits. Methods are included inline since these are less likely to be reused.
The name, description and altLabel columns work as described above. The term that they define should represent a specific variable (ObservedVariable) for which Adelaide University expects to report values within study datasets. Create multiple rows if the node produces values for the same trait concept using different methods and/or scales. Each row should have a unique name. The exactMatch column will allow all such terms to be linked together as ways to record the same trait concept.
The exactMatch column should be used to reference a term associated with the trait in [Plant Trait Ontology (PATO), Plant Ontology (PO), Flora Phenotype Ontology (FLOPO), Agronomy Ontology (AGRO)]. The CDT will assist as needed with finding appropriate terms. If you leave this column blank, the CDT will seek to populate it on your behalf. As noted above, this column will facilitate grouping of related but different measurements of the same trait achieved in different ways. If no exact match exists, the broader column can be used to indicate a more inclusive term.
The methodName, methodDescription, methodAltLabel, methodExactMatch and methodBroader columns can be used to provide information on the method used to collect values for the Trait (ObservedVariable). These fields should ideally be sufficient for a practitioner to understand how the associated Adelaide University data values were collected. This is important for ensuring that any meta-analyis is well grounded. The methodUrl column can be used to point to a publication, web page or other resource that documents the method in more detail.
The Scale column enables selection of the name for a scale defined in the Scale sheet. New scales should be defined there before adding the reference in the Trait sheet. Scales may be standard SI units, widely used categorical schemes (e.g. Zadok scores), unitless values (NDVI, pH) or other representations that appear in data. Understanding the scale is essential for making sense of the value for any Trait.
The BiologicalUnitType column enables selection of the name for a unit type defined in the BiologicalUnitType sheet. This is only required in cases where the trait being described is specific to a given unit type. Including this information will assist with documentation and data validation.
The BiologicalMaterial column enables selection of the plant taxon (species, variety, family, other grouping) in the BiologicalMaterial sheet. This is only required in cases where the trait being described is specific to a given taxon. Including this information will assist with documentation and data validation.
Platform
The Platform sheet describes a platform which can be a vehicle, building, person or other entity that may carry or include Sensors or Actuators. A Platform is also an ObservationUnit so that it may be the target for Observation Assays (reading device state as ObservedVariables) and potentially for Control Assays (setting parameters as ControlledVariables). We describe the name for that particular platform, a short description, platform type and brand, as well as model and serial number.
Sensor
The Sensor sheet describes an electromechanical device that can return the value for an ObservedVariable and that may be mounted on a Platform. We describe the name for that particular sensor, a short description, sensor type and brand, as well as model and serial number.
Deployment
The deployment sheet describes name for the associated platform and the sensor on which it is mounted.
GrowthFacility
The GrowthFacility sheet describes a building, enclosed space, field unit, container or other entity in which plants are grown. GrowthFacilities include all non-biological ObservationUnits and may be defined for each spatial context at which environmental observations are collected or management actions (Treatments) are performed for one or more BiologicalUnits. Where relevant, the position of a GrowthFacility within a larger GrowthFacility can be specified using a Location. GrowthFacilities may be Platforms for Sensors and Actuators. We collect a general description for the growth facility, a standarized type name, air conditioning type, temperature range, lights, shade, size, gas supply, humidity control, deployment inside the growth facility, type brand, model and serial number. For other specific details, we also record the containment levele and quarantine details.

## Trait
name | description | altLabel | exactMatch | broader | methodName | methodDescription | methodAltLabel | methodExactMatch | methodBroader | methodUrl | Scale | BiologicalUnitType | BiologicalMaterial
seed number index | Count of the seed starting from 1, this result is used in the total number of seeds on this spike trait (SeedNumber). | SeedNum |  |  | seed number index method | Scanning seed number (start from 1) using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | integer | seed | any plant
seed blob size voxel | Size of the seed in voxel. | Blobsize |  |  | seed blob size voxel method | Scanning seed blob size in voxel using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | voxel | seed | any plant
seed attenuation mean value | Mean attenuation value of this specific seed. | AttenuationMeanValue |  |  | seed attenuation mean value method | Scanning seed attenuation mean value using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | hounsfield units | seed | any plant
seed spherical ratio | Numerical shape descriptor of seed. | SphericalRatio, SeedSphericalRatio |  |  | seed spherical ratio method | Scanning seed spherical ratio using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | seed spherical ratio scale 0-1 | seed | any plant
seed spherical ratio spherical radius | Radius of a sphere that has the same volume as the seed. | SphericalRatioSphericalRadius |  |  | seed spherical ratio spherical radius method | Scanning seed spherical ratio spherical radius using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | voxel | seed | any plant
seed mean grey value | Mean grey value of the seed (corresponse to density). | MeanValue |  |  | seed mean grey value method | Scanning seed mean grey value using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | hounsfield units | seed | any plant
seed center of mass X | Position of the center of mass of the seed within the volume in X (in pixel). | CenterOfMass_X |  |  | seed center of mass X method | Scanning seed center of mass X/Y/Z using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | pixel | seed | any plant
seed center of mass Y | Position of the center of mass of the seed within the volume in Y (in pixel). | CenterOfMass_Y |  |  | seed center of mass Y method | Scanning seed center of mass X/Y/Z using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | pixel | seed | any plant
seed center of mass Z | Position of the center of mass of the seed within the volume in Z (in pixel). | CenterOfMass_Z |  |  | seed center of mass Z method | Scanning seed center of mass X/Y/Z using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | pixel | seed | any plant
seed minimum covering sphere radius | Minimum covering sphere. | MCS_Radius |  |  | seed minimum covering sphere radius method | Scanning seed minimum covering sphere radius using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | integer | seed | any plant
seed minimum covering sphere center X | Center position of the minimum covering sphere within the volume in X (in pixel). | MCS_Center_X |  |  | seed minimum covering sphere center X method | Scanning seed minimum covering sphere center X/Y/Z using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | pixel | seed | any plant
seed minimum covering sphere center Y | Center position of the minimum covering sphere within the volume in Y (in pixel). | MCS_Center_Y |  |  | seed minimum covering sphere center Y method | Scanning seed minimum covering sphere center X/Y/Z using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | pixel | seed | any plant
seed minimum covering sphere center Z | Center position of the minimum covering sphere within the volume in Z (in pixel). | MCS_Center_Z |  |  | seed minimum covering sphere center Z method | Scanning seed minimum covering sphere center X/Y/Z using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | pixel | seed | any plant
seed number of surface voxel | Number of voxels which form the surface of the seed (seed surface area). | NumberOfSurfaceVoxel |  |  | seed number of surface voxel method | Scanning seed number of surface voxel using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | voxel | seed | any plant
seed blob size cubic millimeter | Size of the seed in cubic millimeter. | BlobSizeCubicMillimeter |  |  | seed blob size cubic millimeter method | Scanning seed blob size cubic millimeter using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | cubic millimeter | seed | any plant
seed ratio surface to blob voxel | Ratio between the surface and the volume of the seed (surface area to volume ratio). | RatioSurfaceToBlobVoxel |  |  | seed ratio surface to blob voxel method | Scanning seed ratio surface to blob voxel using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | ratio | seed | any plant
seed length | Distance between two most distal points of seed. | SeedLength_mm, SeedLength | http://purl.obolibrary.org/obo/TO_0000146 |  | seed length method | Scanning seed length using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | millimeter | seed | any plant
estimated seed weight | Estimated seed weight derived from seed size and density measurement. | EstimatedSeedWeight |  |  | estimated seed weight | Estimated weight of the seed using X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | gram | seed | any plant
seed weight | Weight of the seed in grams (calculated by mass_correction_factor; mass_correction factor=mean value of actual weight/mean value of seed weight in g) (seed weight). | SeedWeight_g | http://purl.obolibrary.org/obo/TO_0000181 |  | seed weight method | Scanning weight of the seed in g (calculated by mass_correction_factor; mass_correction factor=mean value of actual weight/mean value of seed weight in g from the .csv) (seed weight) using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | gram | seed | any plant
seed surface area | Surface area of the seed. | SeedSurfaceArea_mm2, SeedSurfaceArea |  |  | seed surface area method | Scanning surface area of the seed using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | square millimeter | seed | any plant
seed volume | Volume of the seed. | SeedVolume_mm3, SeedVolume | http://purl.obolibrary.org/obo/TO_0007000 |  | seed volume method | Scanning volume of the seed using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | cubic millimeter | seed | any plant
seed structural similarity | Structural similarity of the seed. 0 - not similar to the seed class at all. 1 - identical with the seed class. | SSIM |  |  | seed structural similarity method | Scanning seed structural similarity using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. |  |  |  |  | seed structural similarity scale 0-1 | seed | any plant
seed class | Classification of the seed class 0=big, 1=medium, 2=small, 3=very small. | SeedClass |  |  | seed class method | Scanning seed class using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | seed class scale 0-3 | spike | any plant
spike seed number | Number of seeds detected on the spike. | Seednumber, SeedCount_Spike |  |  | spike seed number method | Scanning spike sum of seed weight recorded in grams using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | integer | spike | any plant
spike seed weight total | Total weight of seeds. | Seedweight_total(g) |  |  | spike seed weight total method | Scanning spike seed weight total using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | gram | spike | any plant
spike seed weight average | Average of seed weight on this spike. | Seedweight_ave(g) |  |  | spike seed weight average method | Scanning spike seed weight average using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | gram | spike | any plant
spike seed weight standard deviation | Standard deviation of average seed weight. | Seedweight_aveSD |  |  | spike seed weight standard deviation method | Scanning spike standard deviation of seed weight average using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | gram | spike | any plant
spike seed spherical ratio average | Average of shape descriptor of seed on spike. | sphericalratio_ave |  |  | spike seed spherical ratio average method | Scanning spike spike seed spherical ratio average using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | spike seed spherical ratio average 0-1 | spike | any plant
spike seed length average | Average length of seeds on this spike. | SeedLength(mm) |  |  | spike seed length average method | Scanning spike seed length using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | millimeter | spike | any plant
spike seed length standard deviation | Standard deviation of seed length (mm). | SeedLength_SD |  |  | spike seed length standard deviation method | Scanning spike seed length standard deviation using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | millimeter | spike | any plant
spike CAT radius | The radius of the Circle that has the same Area as the seed maximum Transverse section. | CAT_radius(mm) |  |  | spike CAT radius method | Scanning spike Circle that has the same Area as the seed maximum Transverse section (CAT) radius calculated using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. |  |  |  |  | millimeter | spike | any plant
spike CAT radius standard deviation | Standard deviation of Circle that has the same Area as the seed maximum Transverse section radius(mm). | CAT_rSD |  |  | spike CAT radius standard deviation method | Scanning spike Circle that has the same Area as the seed maximum Transverse section (CAT) radius standard deviation calculated using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. |  |  |  |  | integer | spike | any plant
spike seed volume | Average seed volume in mm3. | SeedVolume_mm3 | http://purl.obolibrary.org/obo/TO_0007000 |  | spike seed volume method | Scanning spike seed volume using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | cubic millimeter | spike | any plant
spike seed size | Averge seed size in mm3. | Seedsize(mm3) |  |  | spike seed size method | Scanning spike seed size using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | cubic millimeter | spike | any plant
spike seed size standard deviation | Standard deviation of Seed size. | Seedsize_SD |  |  | spike seed size standard deviation method | Scanning spike seed size standard deviation using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | integer | spike | any plant
spike seed surface area | Average seed surface area (mm2). | Surfacearea(mm2) |  |  | spike seed surface area method | Scanning spike seed surface area using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | square millimeter | spike | any plant
spike seed surface area standard deviation | Standard deviation of Surface area. | Surfacearea_SD |  |  | spike seed surface area standard deviation method | Scanning spike seed surface area standard deviation using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | integer | spike | any plant
spike seed ratio surface to volume | The ratio of surface area to seed size in volex. | RatioSurfacetoVolume |  |  | spike seed ratio surface to volume method | Scanning spike seed ratio surface to volume using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | ratio | spike | any plant
spike seed mean gray value | Average gray value of the seeds on this spike, correlate to seed density. High MeanGrayValue = high seed density. | MeanGrayValue(HU) |  |  | spike seed mean gray value method | Scanning spike seed mean gray value using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | hounsfield units | spike | any plant
spike seed mean gray value standard deviation | Standard deviation of Mean Gray Value. | MeanGrayValue_SD |  |  | spike seed mean gray value standard deviation method | Scanning spike seed mean gray value standard deviation using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | integer | spike | any plant
spike seed ear X | Distance between the furthest apart seeds on X axis. | Ear_X(mm) |  |  | spike seed ear X method | Scanning spike seed ear X using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | millimeter | spike | any plant
spike seed ear Y | Distance between the furthest apart seeds on Y axis. | Ear_Y(mm) |  |  | spike seed ear Y method | Scanning spike seed ear Y using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | millimeter | spike | any plant
spike seed ear Z | Distance between the furthest apart seeds on Z axis. | Ear_Z(mm) |  |  | spike seed ear Z method | Scanning spike seed ear Z using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | millimeter | spike | any plant
spike seed ear length | Longest distance between seeds base on their spatial positions. | Earlength(mm) |  |  | spike seed ear length method | Scanning spike seed ear length using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | millimeter | spike | any plant
spike seed class percentage | The percentage of grains classified as Seed Class 0, 1, 2, 3 on this spike. | SeedClass |  |  | spike seed class percentage method | Formula (Number of seeds in SeedClass0/Seednumber)*100%. Scanning spike seed class percentage using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020) (DOI: 10.1186/s13007-020-00565-w). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021) (DOI: 10.1186/s13007-021-00726-5), with modifications implemented in a Python 3.0 environment. |  |  |  |  | spike seed class percentage scale 0-3 | spike | any plant
shoot fresh weight | The total weight of shoots per plant. | fresh shoot weight | http://purl.obolibrary.org/obo/TO_0000571 |  | shoot fresh weight method | Calculated as the total weight of the above ground plant material. |  |  |  |  | gram | shoot | any plant
shoot dry weight | The total weight shoots after drying. | dry shoot weight | http://purl.obolibrary.org/obo/TO_0000552 |  | shoot dry weight method | Calculated as the total weight of the dried above ground plant material. |  |  |  |  | gram | shoot | any plant
root fresh weight | The total weight of roots. | fresh root weight | http://purl.obolibrary.org/obo/TO_0000578 |  | root fresh weight method | Calculated as the total weight of below ground plant material. |  |  |  |  | gram | root | any plant
root dry weight | The total weight of roots after drying. | dry root weight | http://purl.obolibrary.org/obo/TO_0000078 |  | root dry weight method | Calculated as the total weight of the dried below ground plant material. |  |  |  |  | gram | root | any plant
total fresh weight | The total weight of shoots and roots. | total biomass |  |  | total fresh weight method | Calculated as the total weight of above and below ground plant material. |  |  |  |  | gram | whole plant | any plant
total dry weight | The total weight of shoots and roots after drying. | total above and below ground dry weight |  |  | total dry weight method | Calculated as the total weight of dried above and below ground plant material. |  |  |  |  | gram | whole plant | any plant
harvest index | Ratio of grain yield to aboveground fresh or dry biomass. | Harvest Index | http://purl.obolibrary.org/obo/TO_0000128 |  | harvest index method | Calculated as ratio of yield to biomass. |  |  |  |  | gram per gram | whole plant | any plant
projected shoot area | The projected shoot area of a plant. | psa |  |  | projected shoot area method | Calculated as the sum of the number of plant pixels from 3 camera views (LemnaTec Scanalyzer 3D) comprising two side views and aview from above, described by Brien et al. (2020) (https://doi.org/10.1186/s13007-020-00577-6), employing the R package growthPheno (Brien, 2021c) (http://cran.at.r-project.org/package=growthPheno). |  |  |  |  | kilopixels | shoot | any plant
absolute projected shoot area growth rates | The absolute projected shoot area growth rates (kpixels / day). | psa agr |  |  | absolute projected shoot area growth rates method | The absolute projected shoot area growth rates were calculated by differencing consecutive projected shoot area values, and dividing by the time differences. |  |  |  |  | kilopixels per day | shoot | any plant
relative projected shoot area growth rates | The relative projected shoot area growth rates (per day). | psa rgr |  |  | relative projected shoot area growth rates method | The relative projected shoot area growth rates were calculated by differencing consecutive ln(projected shoot area) values, and dividing by the time differences. |  |  |  |  | day | shoot | any plant
daily water use | The daily plant water use. | wur |  |  | daily water use method | Daily water use (WUR mL/day) was computed for each pot using the Droughtspotter gravimetric platform (Droughtspotter, Phenospex, Heerlen, Netherlands) (https://phenospex.com/products/plant-phenotyping/drought-control-platform/). |  |  |  |  | milliliter per day | whole plant | any plant
total water use | Defined for each plant as the sum of all daily water use values. | twu |  |  | total water use method | Total Water Use (TWU) was defined for each plant as the sum of all daily WUR values (cross-reference Traits WUR - 'daily water use' [Trait ID]). |  |  |  |  | milliliter | whole plant | any plant
water use index | Water use index of the plant. | wui |  |  | water use index method | Water Use Index (WUI kpixels/mL) was calculated as the ratio of smoothed projected shoot area 50 (proxy for final biomass) to TWU. Higher values of WUI correspond to higher water efficiency (cross-reference traits - smoothed projected shoot area 'smoothed Projected Shoot Area [Trait ID], TWU Total Water Use [Trait ID]), biomass [Trait ID]). |  |  |  |  | kilopixels per milliliter | whole plant | any plant
smoothed projected shoot area | The smoothed projected shoot area. | sPSA |  |  | smoothed projected shoot area method | The smoothed projected shoot area (smoothed projected shoot area kpixels) is calculated by smoothing the projected shoot area using splines as described by Brien et al. (2020) (https://doi.org/10.1186/s13007-020-00577-6), employing the R package growthPheno (Brien, 2021c) http://cran.at.r-project.org/package=growthPheno). |  |  |  |  | kilopixels | shoot | any plant
absolute smoothed projected shoot area growth rates | The absolute projected shoot area growth rates (kpixels / day). | sPSA AGR |  |  | absolute smoothed projected shoot area growth rates method | The absolute smoothed projected shoot area growth rates were calculated by differencing consecutive smoothed projected shoot area values, respectively, and dividing by the time differences. |  |  |  |  | kilopixels per day | shoot | any plant
relative smoothed projected shoot area growth rate | The relative projected shoot area growth rates (day). | sPSA RGR |  |  | relative smoothed projected shoot area growth rate method | The relative smoothed projected shoot area growth rates were calculated by differencing consecutive ln(projected shoot area) values, and dividing by the time differences. |  |  |  |  | day | shoot | any plant
projected shoot area for a single time point | The projected shoot area for a single time point | PSA for a single point |  |  | projected shoot area for a single time point method | Calculated as the sum of the number of plant pixels from 3 camera views (LemnaTec Scanalyzer 3D) comprising two side views and aview from above, described by Brien et al. (2020) (https://doi.org/10.1186/s13007-020-00577-6), employing the R package growthPheno (Brien, 2021c) http://cran.at.r-project.org/package=growthPheno). |  |  |  |  | kilopixels | shoot | any plant
absolute projected shoot area growth rates for a single time point | The absolute projected shoot area growth rates for a single time point. | absolute PSA growth rates for a single time point |  |  | absolute projected shoot area growth rates for a single time point method | The absolute projected shoot area growth rates for a single time point were calculated by differencing consecutive projected shoot area values, and dividing by the time differences. |  |  |  |  | kilopixels per day | shoot | any plant
relative projected shoot area growth rate for a single time point | The relative projected shoot area growth rates for a single time point. | relative PSA growth rate for a single time point |  |  | relative projected shoot area growth rate for a single time point method | The relative projected shoot area growth rate for a single time point were calculated by differencing consecutive ln(projected shoot area) values, and dividing by the time differences. |  |  |  |  | day | shoot | any plant
absolute projected shoot area growth rates over a time interval | The absolute projected shoot area growth rates over a time interval. | absolute PSA growth rates over a time interval |  |  | absolute projected shoot area growth rates over a time interval method | The absolute projected shoot area growth rates over a time interval were calculated by differencing projected shoot area values at two different time points, t1 and t2, and dividing by the time differences. |  |  |  |  | kilopixels per day | shoot | any plant
relative projected shoot area growth rate over a time interval | The relative projected shoot area growth rates over a time interval. | relative PSA growth rate over a time interval |  |  | relative projected shoot area growth rate over a time interval method | The relative projected shoot area growth rate over a time interval were calculated by differencing ln(projected shoot area) values at two different time points, t1 and t2, and dividing by the time differences. |  |  |  |  | day | shoot | any plant
smoothed projected shoot area for a single time point | The smoothed projected shoot area for a single time point. | smoothed PSA for a single time point |  |  | smoothed projected shoot area for a single time point method | The smoothed projected shoot area for a single time point is calculated by smoothing the projected shoot area using splines as described by Brien et al. (2020) (https://doi.org/10.1186/s13007-020-00577-6), employing the R package growthPheno (Brien, 2021c) (http://cran.at.r-project.org/package=growthPheno). |  |  |  |  | kilopixels | shoot | any plant
absolute smoothed projected shoot area growth rates for a single time point | The absolute smoothed projected shoot area growth rates for a single time point. | absolute smoothed PSA growth rates for a single time point |  |  | absolute smoothed projected shoot area growth rates for a single time point method | Theabsolute smoothed projected shoot area growth rates for a single time point were calculated by differencing consecutive smoothed projected shoot area values and dividing by the time differences. |  |  |  |  | kilopixels per day | shoot | any plant
relative smoothed projected shoot area growth rate for a single time point | The relative smoothed projected shoot area growth rates for a single time point. | relative smoothed PSA growth rate for a single time point |  |  | relative smoothed projected shoot area growth rate for a single time point method | The relative smoothed projected shoot area growth rate for a single time point were calculated by differencing consecutive ln(smoothed projected shoot area) values, and dividing by the time differences. |  |  |  |  | day | shoot | any plant
absolute smoothed projected shoot area growth rates over a time interval | The absolute smoothed projected shoot area growth rates over a time interval. | absolute smoothed PSA growth rates over a time interval |  |  | absolute smoothed projected shoot area growth rates over a time interval method | The absolute smoothed projected shoot area growth rates over a time interval were calculated by differencing smoothed projected shoot area values at two different time points, t1 and t2, and dividing by the time differences. |  |  |  |  | kilopixels per day | shoot | any plant
relative smoothed projected shoot area growth rate over a time interval | The relative smoothed projected shoot area growth rates over a time interval. | relative smoothed PSA growth rate over a time interval |  |  | relative smoothed projected shoot area growth rate over a time interval method | The relative smoothed projected shoot area growth rate over a time interval were calculated by differencing ln(smoothed projected shoot area) values at two different time points, t1 and t2, and dividing by the time differences. |  |  |  |  | day | shoot | any plant

## Scale
name | altLabel | description | exactMatch | broader
integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.).
voxel |  | The smallest distinguishable 'rectangular-parallel-piped-shaped' part of a three-dimensional space or image. | http://purl.obolibrary.org/obo/NCIT_C79424
hounsfield units | hu | Term given to the dimensions of the quantifier of x-ray attenuation, CT number. | http://purl.obolibrary.org/obo/NCIT_C94908
pixel |  | A pixel (px) is the smallest addressable component of a digital image, often used as a unit of length or area in digital imaging, graphics, and web design (Wikipedia).
cubic millimeter | mm3 | A measure of volume in the metric system. One thousand ccs equal one liter.
ratio |  | A dimensionless ratio unit which, given a pair of quantities a and b, for which b is a multiple of a, denotes b by giving the multiplier (coefficient) c for a to result in b. | http://purl.obolibrary.org/obo/UO_0010006
millimeter | mm | A length unit which is equal to one thousandth of a meter or 10^[-3] m. | http://purl.obolibrary.org/obo/UO_0000016
gram | g | A mass unit which is equal to one thousandth of a kilogram or 10^[-3] kg. | http://purl.obolibrary.org/obo/UO_0000021
square millimeter | mm2 | An area unit which is equal to one millionth of a square meter or 10^[-6] m^[2]. | http://purl.obolibrary.org/obo/UO_0000082
kilopixels | kpixels | A thousand pixels quotations.
day |  | A time unit which is equal to 24 hours. | http://purl.obolibrary.org/obo/UO_0000033
milliliter | ml | A volume unit which is equal to one thousandth of a liter or 10^[-3] L, or to 1 cubic centimeter. | http://purl.obolibrary.org/obo/UO_0000098
seed spherical ratio scale 0-1 |  | Seed spherical ratio scale. (0) Sphere shape; spherical ratio=0, infinitive long cylinder shape (seed shape), (1) Spherical ratio.
seed structural similarity scale 0-1 |  | Seed structural similarity scale. (0) not similar to the seed class at all, (1) identical with the seed class.
seed class scale 0-3 |  | Seed class scale. (0) Big, (1) medium, (2) small, (3) very small.
spike seed spherical ratio average 0-1 |  | Spike seed spherical ratio average scale 0 = infinitive long cylinder shape, 1 = sphere shape.
spike seed class percentage scale 0-3 |  | The percentage of grains classified as Seed Class 0 on this spike. ((Number of seeds in SeedClass0/Seednumber)*100%, (Number of seeds in SeedClass1/Seednumber)*100%, (Number of seeds in SeedClass2/Seednumber)*100%, (Number of seeds in SeedClass3/Seednumber)*100%).
gram per gram | g/g | A unit which is equal to 1 gram per 1 gram. |  | http://purl.obolibrary.org/obo/UO_0000021
kilopixels per day | kpixels/day | A thousand pixels quotations per day.
milliliter per day | ml/day | The total volume in milliliters used, taken, or produced over 24 hours.
kilopixels per milliliter | kpixels/ml | A thousand pixels quotations per milliliter.

## BiologicalUnitType
name | description | altLabel | exactMatch | broader
whole plant | An ObservationUnit comprising a plant |  | http://purl.obolibrary.org/obo/PO_0000003
leaf | An ObservationUnit comprising a leaf |  | http://purl.obolibrary.org/obo/PO_0025034
branch | An ObservationUnit comprising a branch |  | http://purl.obolibrary.org/obo/PO_0025073
canopy | An ObservationUnit comprising a canopy
stem | An ObservationUnit comprising a stem |  | http://purl.obolibrary.org/obo/PO_0009047
shoot | An ObservationUnit comprising a shoot |  |  | http://purl.obolibrary.org/obo/PO_0025029
flower | An ObservationUnit comprising a flower |  | http://purl.obolibrary.org/obo/PO_0009046
fruit | An ObservationUnit comprising a fruit |  | http://purl.obolibrary.org/obo/PO_0009001
root | An ObservationUnit comprising a root |  | http://purl.obolibrary.org/obo/PO_0009005
seed | An ObservationUnit comprising a seed |  | http://purl.obolibrary.org/obo/PO_0009010
spike | An ObservationUnit comprising a spike |  |  | http://purl.obolibrary.org/obo/PO_0030117

## BiologicalMaterial
name | genus | specificEpithet | scientificName | description | altLabel | exactMatch | broader | exactMatch2
plants |  |  | Plantae | Plants are the eukaryotic organisms that constitute the kingdom Plantae. |  | http://purl.obolibrary.org/obo/NCBITaxon_33090 |  | https://en.wikipedia.org/wiki/Plantae
grains |  |  | Poaceae | Poaceae, also called Gramineae, is a large and nearly ubiquitous family of monocotyledonous flowering plants commonly known as true grasses. |  | http://purl.obolibrary.org/obo/NCBITaxon_4479 | plants | https://en.wikipedia.org/wiki/Poaceae
wheat | Triticum | aestivum | Triticum aestivum | Wheat is a group of wild and domesticated grasses of the genus Triticum. |  | http://purl.obolibrary.org/obo/NCBITaxon_4565 | grains | https://en.wikipedia.org/wiki/Wheat
barley | Hordeum | vulgare | Hordeum vulgare | Barley, a member of the grass family, is a major cereal grain grown in temperate climates globally. |  | http://purl.obolibrary.org/obo/NCBITaxon_4513 | grains | https://en.wikipedia.org/wiki/Barley
tomato | Solanum | lycopersicum | Solanum lycopersicum | The tomato is a plant whose fruit is an edible berry that is eaten as a vegetable. |  | http://purl.obolibrary.org/obo/NCBITaxon_4081 | plants | https://en.wikipedia.org/wiki/Tomato
cannabis | Cannabis | sativa | Cannabis sativa | Cannabis sativa is an annual herbaceous flowering plant. |  | http://purl.obolibrary.org/obo/NCBITaxon_3483 | plants | https://en.wikipedia.org/wiki/Cannabis_sativa

## Authors
name | email | orcid
Bettina Berger | bettina.berger@adelaide.edu.au | https://orcid.org/0000-0003-1195-4478
Haoyu Lou | haoyu.lou@adelaide.edu.au | https://orcid.org/0000-0001-6422-7157

## Platform
name | description | platformType | brand | model | serialNumber
M3M_1 | DJI Mavic 3 Multispectral | UAV | DJI | mavic 3 multispectral | 1581F5FKD238K00DF6NJ
IF1200_1 | Inspired Flight IF1200 Heavy-Lift Hexacopter | UAV | inspired flight technologies | IF1200 | 5361
PHENOCT_1 | X-ray CT scanner with detector: XEye3025 SN: 403816 and Xray Generator: Comet MXR-225HP/11 | CT scanner | Fraunhofer EZRT | Pheno CT | 0003

## PlatformType
name | altLabel | description | url
UAV | sUAS | Unmanned aerial vehicle (UAV) is an unmanned aircraft that can be remotely controlled or operate autonomously through embedded software and onboard sensors. It encompasses both rotor types, such as quadcopters and fixed-wing designs, including hybrid vertical takeoff and landing (VTOL) drones. | https://doi.org/10.1016/B978-0-12-817748-8.00050-X
CT scanner | computed tomography scanner | An image acquisition device that generates a three-dimensional image of the inside of an object from a large series of two-dimensional X-ray images taken around a single axis of rotation. | http://purl.obolibrary.org/obo/OBI_0000982

## Sensor
name | description | sensorType | sensorType2 | brand | model | serialNumber
M3M_1 | RGB: Hasselblad 20MP, 4/3 CMOS Multispectral: 1/2.8-inch CMOS, effective pixels: 5 MP (wavelengths: 560, 650, 730, 860 nm) | RGB camera | multispectral camera | DJI | mavic 3 multispectral | 1581F5FKD238K00DF6NJ
CALVIS_1 | Hyperspectral: Headwall Co-Aligned VNIR-SWIR (400-2500nm), LiDAR: Velodyne VLP16 | hyperspectral | LiDAR | headwall photonics + velodyne | CALVIS | CAHP-190
XEYE3025_1 | Image area 30 x 25 cm^2; Pixel size 45 / 90 / 135 / 180 to 405 micron or 50 / 100 / 200 to 400 micron; Max. frame rate up to 16 fps 24/7; Scintillator: CsI ; Energy range up to 160 keV or 225 keV; Interface: CameraLink Medium or Ethernet | radiation stable X-ray detector |  | Fraunhofer | XEye3025 | 403816

## SensorType
name | altLabel | description
RGB camera |  | A digital imaging device that captures visible light in three broad spectral bands corresponding to red, green, and blue (RGB) colour channels.
multispectral camera |  | A digital imaging device that captures images in multiple discrete spectral bands spanning visible and/or non-visible wavelengths.
hyperspectral |  | A digital imaging device that captures images in a large number of contiguous, narrow spectral bands across a continuous spectral range.
LiDAR |  | An active remote sensing device that emits laser pulses and measures the reflected light to determine distances and generate three-dimensional spatial information.
radiation stable X-ray detector |  | An X-ray detector designed to resist radiation-induced degradation and maintain consistent imaging performance during prolonged exposure to X-ray radiation.

## Deployment
name | platform | sensor
M3M_1 | M3M_1 | M3M_1
IF1200_1_CALVIS_1 | IF1200_1 | CALVIS_1
PHENOCT_1_XEYE3025_1 | PHENOCT_01 | XEYE3025_1

## GrowthFacility
name | description | growthFacilityType | airConditioning | temperatureRange | lights | shade | size | gasSupply | humidityControl | deployedSensor | brand | model | serialNumber | physicalContainmentLevel | biocontainmentLevel
GH01 | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 24m (3*8), lights 2 x 150w floods 1 x 36w fluro. Shade 50% 90% (not installed) and PC2 containment level. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 2 x 150w floods 1 x 36w fluro | 50% 90% (not installed) | size 24m (3*8) | [6 empty] | PC2
GH02 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2
GH03 | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 48m (6 *8), lights 4 x 400w floods 2 x 36w fluros. Shade 50% and PC2 containment level. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 4 x 400w floods 2 x 36w fluros | 50% | size 48m (6 *8) | [6 empty] | PC2
GH04 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2
GH05 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2
GH06 | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 48m (6 *8), lights 4 x 400w floods 2 x 36w fluros. Shade 50% and PC2 containment level. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 4 x 400w floods 2 x 36w fluros | 50% | size 48m (6 *8) | [6 empty] | PC2
GH07 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2
GH08 | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and BC2 containment level. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2 | BC5.2.4
GH09 | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 24m (3*8), lights 2 x 150w floods 2 x 54w x led floods 1 x 36w fluro. Shade 50% and BC2 containment level. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 2 x 150w floods 2 x 54w x led floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2 | BC5.2.4
GH10 | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and BC2 containment level. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2 | BC5.2.4
GH11 | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and BC2 containment level. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2 | BC5.2.4
GH12 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 2 x 150w floods 10 x fixed spectrum grow lights. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 2 x 150w floods 10 x fixed spectrum grow lights | 50% | size 24m (3*8) | [6 empty] | PC2
GH13 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 48m (6 *8), lights 4 x 400w floods 2 x 36w fluros 15 x fixed spectrum grow lights. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 400w floods 2 x 36w fluros 15 x fixed spectrum grow lights | 50% | size 48m (6 *8) | [6 empty] | PC2
GH14 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro 10 x fixed spectrum grow lights. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro 10 x fixed spectrum grow lights | 50% | size 24m (3*8) | [6 empty] | PC2
GH15 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 5 x 150w floods 1 x 36w fluro 10 x fixed spectrum grow lights. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 5 x 150w floods 1 x 36w fluro 10 x fixed spectrum grow lights | 50% | size 24m (3*8) | [6 empty] | PC2
GH16 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 48m (6 *8), lights 4 x 400w floods 2 x 36w fluros 15 x fixed spectrum grow lights. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 400w floods 2 x 36w fluros 15 x fixed spectrum grow lights | 50% | size 48m (6 *8) | [6 empty] | PC2
GH17 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 5 x 150w floods 1 x 36w fluro 10 x fixed spectrum grow lights. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 5 x 150w floods 1 x 36w fluro 10 x fixed spectrum grow lights | 50% | size 24m (3*8) | [6 empty] | PC2
GH18 | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 24m (3*8), lights 5 x 150w floods 1 x 36w fluro 8 x fixed spectrum grow lights. Shade 50% and PC2 containment level. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 5 x 150w floods 1 x 36w fluro 8 x fixed spectrum grow lights | 50% | size 24m (3*8) | [6 empty] | PC2
GH19 | Glasshouse with a/c type chilled and temperature range of 25 cooling 19 heating. Size 24m (3*8), lights 2 x 150w floods 1 x 36w fluro 10 x fixed spectrum grow lights. Shade 50% blockout and PC2 containment level. | glasshouse | a/c type chilled | temperature range of 25 cooling 19 heating | lights 2 x 150w floods 1 x 36w fluro 10 x fixed spectrum grow lights | 50% blockout | size 24m (3*8) | [6 empty] | PC2
GH20 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 72m (9*8), lights 4 x 400w floods 36 x philips fixed spectrum grow lights. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 400w floods 36 x philips fixed spectrum grow lights | 50% | size 72m (9*8) | [6 empty] | PC2
GH21 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2
GH22 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2
GH23 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 48m (6 *8), lights 3 x 400w floods 2 x 36w fluros. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 3 x 400w floods 2 x 36w fluros | 50% | size 48m (6 *8) |  |  | xray |  |  |  | PC2
GH24 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2
GH25 DS | Glasshouse with a/c type chilled and temperature range of 25 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 12 x philips fixed spectrum grow lights. Shade 50% and PC2 containment level. | glasshouse | a/c type chilled | temperature range of 25 cooling 19 heating | lights 4 x 150w floods 12 x philips fixed spectrum grow lights | 50% | size 24m (3*8) |  |  | drought spotter |  |  |  | PC2
GH26 | Glasshouse with a/c type ahu and temperature range of 26 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type ahu | temperature range of 26 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2
GH27 | Glasshouse with a/c type ahu and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and BC2 containment level. | glasshouse | a/c type ahu | temperature range of 27 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2 | BC5.2.4
GH28 | Glasshouse with a/c type ahu and temperature range of 28 cooling 19 heating. Size 24m (3*8), lights 4 x 54w x led floods 1 x 36w fluro. Shade 50% and BC2 containment level. | glasshouse | a/c type ahu | temperature range of 28 cooling 19 heating | lights 4 x 54w x led floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2 | BC5.2.4
GH29 | Glasshouse with a/c type evap/heat coil and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 4 x 54w x led floods 1 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type evap/heat coil | temperature range of 27 cooling 19 heating | lights 4 x 54w x led floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2
GH30 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 48m (6 *8), lights 4 x 54w x led floods 2 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 54w x led floods 2 x 36w fluro | 50% | size 48m (6 *8) | [6 empty] | PC2
GH31 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 2 x 150w floods 2 x 54w x led floods 1 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 2 x 150w floods 2 x 54w x led floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2
GH32 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 24m (3*8), lights 4 x 150w floods 1 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2
GH33 | Glasshouse with a/c type evap cooling/hydroponic heat and temperature range of 27 cooling 19 heating. Size 72m (9*8), lights 4 x 400w floods 2 x 36w fluros 20 x fixed spectrum grow lights. Shade 50% and PC2 containment level. | glasshouse | a/c type evap cooling/hydroponic heat | temperature range of 27 cooling 19 heating | lights 4 x 400w floods 2 x 36w fluros 20 x fixed spectrum grow lights | 50% | size 72m (9*8) | [6 empty] | PC2
GH34 | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 24m (3*8), lights 2 x 150w floods 1 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 2 x 150w floods 1 x 36w fluro | 50% | size 24m (3*8) | [6 empty] | PC2
IMGA | Imaging hall with a/c type ahu and temperature range of 25 cooling 19 heating. Size 141.4m , lights 9 X 36w fluro and shade 50%. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 9 X 36w fluro | 50%% | 141.4m
SHB | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 132.1m, lights 6 x 400w hpi-t symmetry floods 4 x 36w fluro. Shade 50%. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 6 x 400w hpi-t symmetry floods 4 x 36w fluro | 50% | size 132.1m
SHC | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 143.2m, lights 6 x 400w hpi-t symmetry floods 4 x 36w fluro. Shade 50%. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 6 x 400w hpi-t symmetry floods 4 x 36w fluro | 50% | size 143.2m
IMGD | Imaging hall with a/c type ahu and temperature range of 25 cooling 19 heating. Size 141.4m , lights 9 X 36w fluro and shade 50%.
SHE | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 142.2m, lights 5 x zones of fixed spectrum led light bars 3 x 400w hpi-t symmetry floods 4 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 5 x zones of fixed spectrum led light bars 3 x 400w hpi-t symmetry floods 4 x 36w fluro | 50% | size 142.2m | [6 empty] | PC2
SHF | Glasshouse with a/c type ahu and temperature range of 25 cooling 19 heating. Size 143.2m, lights 5 x zones of fixed spectrum led light bars 3 x 400w hpi-t symmetry floods 4 x 36w fluro. Shade 50% and PC2 containment level. | glasshouse | a/c type ahu | temperature range of 25 cooling 19 heating | lights 5 x zones of fixed spectrum led light bars 3 x 400w hpi-t symmetry floods 4 x 36w fluro | 50% | size 143.2m | [6 empty] | PC2
RI.1 | Reach-in growth chamber (Conviron, PGC 20) with temperature range of temperature lights on 10 to 40 lights off 4 to 40. Size 1.9 m2, height 1.46 m, lights light 20 - 1000. PC2 containment level and gas supply, co2 to 3000 ppm. With humidity up to 90%. | reach-in growth chamber |  | temperature lights on 10 to 40 lights off 4 to 40 | light 20 - 1000 |  | size 1.9 m2, height 1.46 m | gas supply, co2 to 3000 ppm | humidity up to 90% |  | conviron | PGC 20 | 100168 | PC2
RI.2 | Reach-in growth chamber (Conviron, PGC 20) with temperature range of temperature lights on 10 to 40 lights off 4 to 40. Size 1.9 m2, height 1.46 m, lights light 20 - 1000. PC2 containment level and gas supply, co2 to 3000 ppm. With humidity up to 90%. | reach-in growth chamber |  | temperature lights on 10 to 40 lights off 4 to 40 | light 20 - 1000 |  | size 1.9 m2, height 1.46 m | gas supply, co2 to 3000 ppm | humidity up to 90% |  | conviron | PGC 20 | 100166 | PC2
RI.3 | Reach-in growth chamber (Conviron, PGC 20) with temperature range of temperature lights on 10 to 40 lights off 4 to 40. Size 1.9 m2, height 1.46 m, lights light 20 - 1000. PC2 containment level and gas supply, co2 to 3000 ppm. With humidity up to 90%. | reach-in growth chamber |  | temperature lights on 10 to 40 lights off 4 to 40 | light 20 - 1000 |  | size 1.9 m2, height 1.46 m | gas supply, co2 to 3000 ppm | humidity up to 90% |  | conviron | PGC 20 | 100167 | PC2
RI.4 | Reach-in growth chamber (Conviron, PGC 20) with temperature range of temperature lights on 10 to 40 lights off 4 to 40. Size 1.9 m2, height 1.46 m, lights light 20 - 1000. Non-PC2 containment level and gas supply, co2 to 3000 ppm. With humidity up to 90%. | reach-in growth chamber |  | temperature lights on 10 to 40 lights off 4 to 40 | light 20 - 1000 |  | size 1.9 m2, height 1.46 m | gas supply, co2 to 3000 ppm | humidity up to 90% |  | conviron | PGC 20 | 100169 | non-PC2
RI.5 | Reach-in growth chamber (Conviron, PGC 20) with temperature range of temperature lights on 10 to 40 lights off 4 to 40. Size 1.9 m2, height 1.46 m, lights light 20 - 1000. Non-PC2 containment level and gas supply, co2 to 3000 ppm. With humidity up to 90%. | reach-in growth chamber |  | temperature lights on 10 to 40 lights off 4 to 40 | light 20 - 1000 |  | size 1.9 m2, height 1.46 m | gas supply, co2 to 3000 ppm | humidity up to 90% |  | conviron | PGC 20 | 100170 | non-PC2
RI.6 | Reach-in growth chamber (Conviron PGC 20 flex) with temperature range of temperature lights on 10 to 40 lights off 4 to 40. Size 1.9 m2, height 1.46 m, lights light 20 - 1000. Non-PC2 containment level and gas supply, co2 to 3000 ppm. With humidity up to 90%. | reach-in growth chamber |  | temperature lights on 10 to 40 lights off 4 to 40 | light 20 - 1000 |  | size 1.9 m2, height 1.46 m | gas supply, co2 to 3000 ppm | humidity up to 90% |  | conviron | PGC 20 flex | 100165 | non-PC2
RI.7 | Reach-in growth chamber (Conviron PGC 20 flex) with temperature range of temperature lights on 10 to 40 lights off 4 to 40. Size 1.9 m2, height 1.46 m, lights light 20 - 1000. Non-PC2 containment level and gas supply, co2 to 3000 ppm. With humidity up to 90%. | reach-in growth chamber |  | temperature lights on 10 to 40 lights off 4 to 40 | light 20 - 1000 |  | size 1.9 m2, height 1.46 m | gas supply, co2 to 3000 ppm | humidity up to 90% |  | conviron | PGC 20 flex | 100164 | non-PC2
WI.1 | Walk-in growth room (Conviron BDW 80) with temperature range of temperature lights on10 to 37 lights off 4 to 37. Size 7.5 m2, height 2.4m, lights light 20 - 1000. PC2 containment level. With humidity up to 90%. | walk-in growth room |  | temperature lights on10 to 37 lights off 4 to 37 | light 20 - 1000 |  | size 7.5 m2, height 2.4m |  | humidity up to 90% |  | conviron | BDW 80 | 100158-LED | PC2
WI.2 | Walk-in growth room (Conviron BDW 120) with temperature range of temperature lights on10 to 37 lights off 4 to 37. Size 11.3 m2, height 2.4m, lights light 20 - 1000. PC2 containment level and gas supply, 6 stn watering system. lma. With humidity up to 90%. | walk-in growth room |  | temperature lights on10 to 37 lights off 4 to 37 | light 20 - 1000 |  | size 11.3 m2, height 2.4m | gas supply, 6 stn watering system. lma | humidity up to 90% |  | conviron | BDW 120 | 100159-LED | PC2
WI.3 | Walk-in growth room (Conviron MTPS 216) with temperature range of temperature lights on 15 to 35 lights off 10 to 35. Size 13.5 m2, height 2m, lights light 20 - 1000. PC2 containment level. With humidity up to 90%. | walk-in growth room |  | temperature lights on 15 to 35 lights off 10 to 35 | light 20 - 1000 |  | size 13.5 m2, height 2m |  | humidity up to 90% |  | conviron | MTPS 216 | 100162 | PC2
WI.4 | Walk-in growth room (Conviron MTPS 216) with temperature range of temperature lights on 15 to 35 lights off 10 to 35. Size 13.5 m2, height 2m, lights light 20 - 1000. PC2 containment level and gas supply, co2 to 3000 ppm. With humidity up to 90%. | walk-in growth room |  | temperature lights on 15 to 35 lights off 10 to 35 | light 20 - 1000 |  | size 13.5 m2, height 2m | gas supply, co2 to 3000 ppm | humidity up to 90% |  | conviron | MTPS 216 | 100163 | PC2
WI.5 | Walk-in growth room (Conviron BDW 120) with temperature range of temperature lights on10 to 37 lights off 4 to 37. Size 11.3 m2, height 2.4m, lights light 20 - 1000. Non-PC2 containment level. With humidity up to 90%. | walk-in growth room |  | temperature lights on10 to 37 lights off 4 to 37 | light 20 - 1000 |  | size 11.3 m2, height 2.4m |  | humidity up to 90% |  | conviron | BDW 120 | 100160-LED | non-PC2
WI.6 | Walk-in growth room (Conviron BDW 120) with temperature range of temperature lights on10 to 37 lights off 4 to 37. Size 11.3 m2, height 2.4m, lights light 20 - 1000. Non-PC2 containment level and gas supply, co2 to 3000 ppm. With humidity up to 90%. | walk-in growth room |  | temperature lights on10 to 37 lights off 4 to 37 | light 20 - 1000 |  | size 11.3 m2, height 2.4m | gas supply, co2 to 3000 ppm | humidity up to 90% |  | conviron | BDW 120 | 100161-LED | non-PC2
WI.7 | Walk-in growth room (Conviron GR 96) with temperature range of temperature lights on 15 to 35 lights off 10 to 35. Size 15.8 m2, lights light 20 - 1000. PC2 containment level. With humidity up to 90%. | walk-in growth room |  | temperature lights on 15 to 35 lights off 10 to 35 | light 20 - 1000 |  | size 15.8 m2 | drought spotter 96 stations | humidity up to 90% |  | conviron | GR 96 | 170166 | PC2
WI.8 | Walk-in growth room (Conviron GR 96) with temperature range of temperature lights on 15 to 35 lights off 10 to 35. Size 15.8 m2, lights light 20 - 1000. PC2 containment level. With humidity up to 90%. | walk-in growth room |  | temperature lights on 15 to 35 lights off 10 to 35 | light 20 - 1000 |  | size 15.8 m2 | drought spotter 96 stations | humidity up to 90% |  | conviron | GR 96 | 170165 | PC2
GEN1000 | Reach-in growth chamber (Conviron) with temperature range of temperature lights on 6 to 45 lights off 4 to 45. Size 0.53 m2 per shelf, lights light 550 per shelf (2 shelves). Shade shades gen 1000 info and PC2 containment level. | reach-in growth chamber |  | temperature lights on 6 to 45 lights off 4 to 45 | light 550 per shelf (2 shelves) | shades gen 1000 info | size 0.53 m2 per shelf | small project, short plants |  |  | conviron |  | 200505 | PC2
sanyo MLR-351 | Reach-in growth chamber (Sanyo) with temperature range of temperature lights on 10 to 45 lights off 4 to 45. Size 0.2 m2 per shelf, up to 5 shelves, lights light 0-210. Shade shades sanyo mlr-351 and PC2 containment level. | reach-in growth chamber |  | temperature lights on 10 to 45 lights off 4 to 45 | light 0-210 | shades sanyo mlr-351 | size 0.2 m2 per shelf, up to 5 shelves | short day room |  |  | sanyo | MLR-351 |  | PC2

## GrowthFacilityType
name | altLabel | altLabel2 | altLabel3 | description
glasshouse | controlled environment glasshouse | smarthouse |  | Glasshouse facilities include naturally ventilated, air-conditioned, and evaporatively cooled glasshouses, as well as advanced research bays with automated control of lighting, fertigation, and environmental conditions, and may operate under specific containment levels (e.g., PC2) to support safe and compliant research.
reach-in growth chamber | reach-in growth cabinet |  |  | Conviron reach-in cabinets are compact growth chambers that provide precise environmental control for plant and biological experiments. Available models (PCG20, PCG-Flex, ATC60, Adaptis A1000) support a range of research applications, from standard growth studies to advanced, programmable environmental simulations.
walk-in growth room | outdoor walk-in growth chamber | Walk-in growth cabinet | controlled environment room | PSI walk-in chambers (BDW40, BDW80, MTPS144) are large controlled-environment growth rooms that enable precise regulation of temperature, lighting, humidity, and atmospheric conditions. They are designed for larger-scale plant experiments, supporting reproducible research from routine studies to advanced environmental simulations.
rhizolysimiter | rhizotube | rhizobox |  | A soil–plant experimental unit used to grow plants and facilitate the observation and measurement of root development and other below-ground processes in the root zone.
whole tree chamber |  |  |  | Whole tree chambers are controlled-environment systems that enclose individual trees, either potted or rooted in soil, within large structures exposed to natural sunlight. These chambers enable precise regulation of atmospheric conditions such as carbon dioxide, temperature, and humidity, while continuously measuring gas exchange between the tree canopy and the surrounding air. Designed for field-based research, they support experiments that simulate climate change conditions and allow detailed study of whole-tree responses at high temporal resolution.