## Sheet1
Curation | Variable ID | Variable name | Variable label | Variable description | Variable synonyms | Context of use | Growth stage | Variable status | Variable Xref | Institution | Scientist | Date | Language | Crop | institution | scientist | crop | entity | trait name | trait description | trait alternative label | trait exactmatch | trait closematch | trait relatedmatch | method name | method description | scale name | scale alternative label | scale description | scale exactmatch | scale closematch | Scale relatedmatch
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed number | Seed number (start from 1) |  |  | http://purl.obolibrary.org/obo/TO_0000445; http://purl.obolibrary.org/obo/TO_0001134 |  | seed number_method | Scanning seed number using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed attenuation mean value | Mean attenuation value of this specific seed | attenuationmeanvalue |  |  |  | seed attenuation mean value_method | Scanning seed attenuation mean value using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed spherical ratio | Describes the shape of the seed | sphericalratio |  | http://purl.obolibrary.org/obo/FLOPO_0002293 |  | seed spherical ratio_method | Scanning seed spherical ratio using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | seed spherical ratio scale |  | Seed spherical ratio scale. (0) Sphere shape; spherical ratio=0, infinitive long cylinder shape (seed shape), (1) Spherical ratio
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed spherical ratio spherical radius | Radius of a sphere that has the same volume as the seed | sphericalratiosphericalradius |  | http://purl.obolibrary.org/obo/FLOPO_0002293 |  | seed spherical ratio spherical radius_method | Scanning seed spherical ratio spherical radius using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed spherical ratio sphere minimum covering sphere radius | MCS=minimum covering sphere; radius of the smallest sphere surrounding the seed (SphericalRatioSphereRadius/SphericalRatioSphereMCSRadius=SphereicalRatio) | sphericalratiospheremcsradius |  | http://purl.obolibrary.org/obo/FLOPO_0002293 |  | seed spherical ratio sphere minimum covering sphere radius_method | Scanning seed spherical ratio sphere MCS radius using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed density mean value | Mean grey value of the seed (corresponse to density) | meanvalue |  | http://purl.obolibrary.org/obo/FLOPO_0023914 |  | seed density mean value_method | Scanning seed density mean value using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed center of mass X/Y/Z | Position of the center of mass of the seed within the volume in x/y/z (in pixel) | centerofmass_x/y/z |  |  | http://purl.obolibrary.org/obo/FLOPO_0015519 | seed center of mass X/Y/Z_method | Scanning seed center of mass X/Y/Z using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed minimum covering sphere radius | Minimum covering sphere | mcs_radius |  |  |  | seed minimum covering sphere radius_method | Scanning seed MCS radius using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed minimum covering sphere center X/Y/Z | Center position of the minimum covering sphere within the volume in x/y/z (in pixel) | mcs_center_X/Y/Z |  |  |  | seed minimum covering sphere center X/Y/Z_method | Scanning seed MCS center X/Y/Z using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed ratio surface to blob voxel | Ratio between the surface and the volume of the seed (surface area to volume ratio) | ratiosurfacetoblobvoxel |  |  |  | seed ratio surface to blob voxel_method | Scanning seed ratio surface to blob voxel using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed length | Length (mm) of individual seeds | seedlength_mm | http://purl.obolibrary.org/obo/TO_0000146 |  |  | seed length_method | Scanning seed length using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | millimeter | mm | A length unit which is equal to one thousandth of a meter or 10^[-3] m | http://purl.obolibrary.org/obo/UO_0000016
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed weight | Weight of the seed in g (calculated by mass_correction_factor; mass_correction factor=mean value of actual weight/mean value of seed weight in g) (seed weight) | seedweight_g | http://purl.obolibrary.org/obo/TO_0000181 |  |  | seed weight_method | Scanning weight of the seed in g (calculated by mass_correction_factor; mass_correction factor=mean value of actual weight/mean value of seed weight in g from the .csv) (seed weight) using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | gram | g | A mass unit which is equal to one thousandth of a kilogram or 10^[-3] kg. | http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed volume | Volume of the seed | seedvolume_mm3 | http://purl.obolibrary.org/obo/TO_0007000 |  |  | seed volume_method | Scanning volume of the seed using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | cubic millimeter | mm3 | A measure of volume in the metric system. One thousand ccs equal one liter.
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed structural similarity | Structural similarity of the seed. 0 - not similar to the seed class at all. 1 - identical with the seed class | ssim |  |  |  | seed structural similarity_method | Scanning seed structural similarity using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. | seed structural similarity scale |  | Seed structural similarity scale. (0) not similar to the seed class at all, (1) identical with the seed class
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | seed | seed class | Classification of the seed class 0=big, 1=medium, 2=small, 3=very small | seedclass |  |  |  | seed class_method | Scanning seed class using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | seed class scale |  | Seed class scale. (0) Big, (1) medium, (2) small, (3) very small
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed number | Total number of seeds on this spike | seednumber |  |  |  | spike seed number_method | Scanning spike sum of seed weight recorded in grams using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed weight total | Total weight of seeds | seedweight_total(g) |  |  | http://purl.obolibrary.org/obo/TO_0000181 | spike seed weight total_method | Scanning spike seed weight total using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | gram | g | A mass unit which is equal to one thousandth of a kilogram or 10^[-3] kg. | http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed weight average | Average of seed weight on this spike | seedweight_ave(g) |  |  | http://purl.obolibrary.org/obo/TO_0000181 | spike seed weight average_method | Scanning spike seed weight average using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | gram | g | A mass unit which is equal to one thousandth of a kilogram or 10^[-3] kg. | http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed weight average standard deviation | Standard deviation of Seedqweight_ave | seedweight_avesd |  |  | http://purl.obolibrary.org/obo/TO_0000181 | spike seed weight average standard deviation_method | Scanning spike standard deviation of seed weight average using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | gram | g | A mass unit which is equal to one thousandth of a kilogram or 10^[-3] kg. | http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed length | Average length of seeds on this spike | seedlength(mm) |  |  | http://purl.obolibrary.org/obo/TO_0000146 | spike seed length_method | Scanning spike seed length using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | millimeter | mm | A length unit which is equal to one thousandth of a meter or 10^[-3] m | http://purl.obolibrary.org/obo/UO_0000016
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed length standard deviation | Standard deviation of SeedLength_(mm) | seedlength_sd |  |  | http://purl.obolibrary.org/obo/TO_0000146 | spike seed length standard deviation_method | Scanning spike seed length standard deviation using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike CAT radius | The radius of the Circle that has the same Area as the seed maximum Transverse section | cat_radius(mm) |  |  |  | spike CAT radius_method | Scanning spike CAT radius using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | millimeter | mm | A length unit which is equal to one thousandth of a meter or 10^[-3] m | http://purl.obolibrary.org/obo/UO_0000016
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike CAT radius standard deviation | Standard deviation of Circle that has the same Area as the seed maximum Transverse section radius(mm) | cat_rsd |  |  |  | spike CAT radius standard deviation_method | Scanning spike CAT radius standard deviation using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed size | Averge seed size in mm3 | seedsize(mm3) |  | http://purl.obolibrary.org/obo/TO_0000391 |  | spike seed size_method | Scanning spike seed size using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | cubic millimeter | mm3 | A measure of volume in the metric system. One thousand ccs equal one liter.
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed size standard deviation | Standard deviation of Seed size | seedsize_sd |  |  | http://purl.obolibrary.org/obo/TO_0000391 | spike seed size standard deviation_method | Scanning spike seed size standard deviation using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed surface area | Average seed surface area (mm2) | surfacearea(mm2) |  | http://purl.obolibrary.org/obo/TO_0002741 |  | spike seed surface area_method | Scanning spike seed surface area using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | square millimeter | mm2 | An area unit which is equal to one millionth of a square meter or 10^[-6] m^[2]. | http://purl.obolibrary.org/obo/UO_0000082
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed surface area standard deviation | Standard deviation of Surface area | surfacearea_sd |  |  | http://purl.obolibrary.org/obo/TO_0002741 | spike seed surface area standard deviation_method | Scanning spike seed surface area standard deviation using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed ratio surface to volume | The ratio of surface area to seed size in volex | ratiosurfacetovolume |  |  |  | spike seed ratio surface to volume_method | Scanning spike seed ratio surface to volume using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | ratio |  | A dimensionless ratio unit which, given a pair of quantities a and b, for which b is a multiple of a, denotes b by giving the multiplier (coefficient) c for a to result in b | http://purl.obolibrary.org/obo/UO_0010006
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed mean gray value | Average gray value of the seeds on this spike, correlate to seed density. High MeanGrayValue = high seed density | meangrayvalue(hu) |  |  |  | spike seed mean gray value_method | Scanning spike seed mean gray value using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed mean gray value standard deviation | Standard deviation of Mean Gray Value | meangrayvalue_sd |  |  |  | spike seed mean gray value standard deviation_method | Scanning spike seed mean gray value standard deviation using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | ear | spike seed ear X | Distance between the furthest apart seeds on X axis | ear_X(mm) |  |  |  | spike seed ear X_method | Scanning spike seed ear X using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | millimeter | mm | A length unit which is equal to one thousandth of a meter or 10^[-3] m | http://purl.obolibrary.org/obo/UO_0000016
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | ear | spike seed ear Y | Distance between the furthest apart seeds on Y axis | ear_Y(mm) |  |  |  | spike seed ear Y_method | Scanning spike seed ear Y using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | millimeter | mm | A length unit which is equal to one thousandth of a meter or 10^[-3] m | http://purl.obolibrary.org/obo/UO_0000016
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | ear | spike seed ear Z | Distance between the furthest apart seeds on Z axis | ear_Z(mm) |  |  |  | spike seed ear Z_method | Scanning spike seed ear Z using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | millimeter | mm | A length unit which is equal to one thousandth of a meter or 10^[-3] m | http://purl.obolibrary.org/obo/UO_0000016
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed ear length | Longest distance between seeds base on their spatial positions | earlength(mm) |  | http://purl.obolibrary.org/obo/TO_0000431 |  | spike seed ear length_method | Scanning spike seed ear length using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | millimeter | mm | A length unit which is equal to one thousandth of a meter or 10^[-3] m | http://purl.obolibrary.org/obo/UO_0000016
[10 empty] | AU_APPN | Bettina Berger |  | English | Barley | adelaide university | Bettina Berger | barley | spike | spike seed class percentage | The percentage of grains classified as Seed Class 0, 1, 2, 3 on this spike. See "output_ears_raw" tab for examples of different seed classes. |  |  |  |  | spike seed class percentage_method | Scanning spike seed class percentage using an X-ray CT scanner, at 220kV voltage and 6mA current, utilizing a 0.5mm copper filter for image acquisition at a resolution of 84µm. The specimen stage rotated 220 degrees with a rotation step increment of 0.15 degrees. Throughout the 7-minute scanning duration, 1500 projections were collected at an exposure time of 250 ms each. Correction and reconstruction were carried out using the Fraunhofer EZRT CTProcessingNet, following the approach described by Schmidt et al. (2020). Reconstructed 3D grey-scale volume, with a depth of 16 bits, was then segmented into 30 individual 3D volumes using the EarSTubesSegmentation algorithm. Spike, automatic wheat seed segmentation and measurements were conducted using the EarS algorithm. Spikelet information, including the number of spikelets per spike and the number of grains per spikelet, estimated using a method described by Zhou et al. (2021), with modifications implemented in a Python 3.0 environment. | integer |  | An integer is the number zero (0), a positive natural number (1, 2, 3, etc.) or a negative integer (−1, −2, −3, etc.)
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | shoot | shoot fresh weight | The total weight of shoots per plant | fresh shoot weight | http://purl.obolibrary.org/obo/TO_0000571 |  |  | shoot fresh weight_method | Calculated as the total weight of the above ground plant material | gram | g | A mass unit which is equal to one thousandth of a kilogram or 10^[-3] kg. | http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | shoot | shoot dry weight | The total weight shoots after drying | dry shoot weight | http://purl.obolibrary.org/obo/TO_0000552 |  |  | shoot dry weight_method | Calculated as the total weight of the dried above ground plant material | gram | g | A mass unit which is equal to one thousandth of a kilogram or 10^[-3] kg. | http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | root | root fresh weight | The total weight of roots | fresh root weight | http://purl.obolibrary.org/obo/TO_0000578 |  |  | root fresh weight_method | Calculated as the total weight of below ground plant material | gram | g | A mass unit which is equal to one thousandth of a kilogram or 10^[-3] kg. | http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | root | root dry weight | The total weight of roots after drying | dry root weight | http://purl.obolibrary.org/obo/TO_0000078 |  |  | root dry weight_method | Calculated as the total weight of the dried below ground plant material | gram | g | A mass unit which is equal to one thousandth of a kilogram or 10^[-3] kg. | http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | total fresh weight | The total weight of shoots and roots | total biomass |  |  |  | total fresh weight_method | Calculated as the total weight of above and below ground plant material | gram | g | A mass unit which is equal to one thousandth of a kilogram or 10^[-3] kg. | http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | total dry weight | The total weight of shoots and roots after drying | total above and below ground dry weight |  |  |  | total dry weight_method | Calculated as the total weight of dried above and below ground plant material | gram | g | A mass unit which is equal to one thousandth of a kilogram or 10^[-3] kg. | http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | harvest index | Ratio of grain yield to aboveground fresh or dry biomass |  | http://purl.obolibrary.org/obo/TO_0000128 |  |  | harvest index_method | Calculated as ratio of Yield to Biomass | gram/gram | g/g | A unit which is equal to 1 gram per 1 gram. |  | http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | soil | soil nitrate concentration | Soil nitrogen concentration (mg/g) attributable to nitrate | soil NO3 | http://purl.obolibrary.org/obo/ENVO_09200007 |  |  | soil nitrate concentration_method | Short method description including refs if available. Need to talk to Bettina about these. | milligram/gram | mg/g | A unit which is equal to 10⁻³ gram per 1 gram. |  | http://purl.obolibrary.org/obo/UO_0000022; http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | soil | soil ammonia concentration | Soil nitrogen concentration (mg/g) attributable to ammonia | soil NH4 |  |  |  | soil ammonia concentration_method | Short method description including refs if available. Need to talk to Bettina about these. | milligram/gram | mg/g | A unit which is equal to 10⁻³ gram per 1 gram. |  | http://purl.obolibrary.org/obo/UO_0000022; http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | soil | soil nitrogen concentration | The sum of the soil NO3 and NH4 concentrations (mg/g) | total soil N concentration | http://purl.obolibrary.org/obo/ENVO_09000017 |  |  | soil nitrogen concentration_method | Short method description including refs if available. Need to talk to Bettina about these. | milligram/gram | mg/g | A unit which is equal to 10⁻³ gram per 1 gram. |  | http://purl.obolibrary.org/obo/UO_0000022; http://purl.obolibrary.org/obo/UO_0000021
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | projected shoot area | The projected shoot area of a plant | PSA |  |  |  | projected shoot area _method | Calculated as the sum of the number of plant pixels typically from 3 camera views (LemnaTec Scanalyzer 3D) comprising two side views and aview from above, described by Brien et al. (2020) (https://doi.org/10.1186/s13007-020-00577-6), employing the R package growthPheno (Brien, 2021c) http://cran.at.r-project.org/package=growthPheno) | kilopixels | kpixels | A thousand pixels quotations
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | absolute projected shoot area growth rates | The absolute projected shoot area growth rates (kpixels / day) | absolute PSA growth rates |  |  |  | absolute projected shoot area growth rates_method | The absolute PSA growth rates were calculated by differencing consecutive PSA values, and dividing by the time differences. (cross-reference traits - PSA 'Projected Shoot Area [Trait ID]) | kilopixels/day | kpixels / day | A thousand pixels quotations per day |  |  | http://purl.obolibrary.org/obo/UO_0000033
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | relative projected shoot area growth rates | The relative projected shoot area growth rates (per day) | relative PSA growth rate |  |  |  | relative projected shoot area growth rates_method | The relative PSA growth rates were calculated by differencing consecutive ln(PSA) values, and dividing by the time differences. (cross-reference traits - PSA 'Projected Shoot Area [Trait ID]) | day |  | A time unit which is equal to 24 hours. | http://purl.obolibrary.org/obo/UO_0000033
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | daily water use | The daily plant water use |  |  |  |  | daily water use_method | Daily water use (WUR mL/day) was computed for each pot using the Droughtspotter gravimetric platform (Droughtspotter, Phenospex, Heerlen, Netherlands) (https://phenospex.com/products/plant-phenotyping/drought-control-platform/) | milliliter/day | ml/day | The total volume in milliliters used, taken, or produced over 24 hours
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | total water use | Defined for each plant as the sum of all daily water use values |  |  |  |  | total water use_method | Total Water Use (TWU) was defined for each plant as the sum of all daily WUR values (cross-reference Traits WUR - 'daily water use' [Trait ID]) | milliliter | ml | A volume unit which is equal to one thousandth of a liter or 10^[-3] L, or to 1 cubic centimeter. | http://purl.obolibrary.org/obo/UO_0000098
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | water use index | Water use index of the plant |  |  |  |  | water use index_method | Water Use Index (WUI kpixels/mL) was calculated as the ratio of sPSA 50 (proxy for final biomass) to TWU. Higher values of WUI correspond to higher water efficiency (cross-reference traits - sPSA 'smoothed Projected Shoot Area [Trait ID], TWU Total Water Use [Trait ID]), biomass [Trait ID]) | kilopixels/milliliter | kpixels/ml | A thousand pixels quotations per milliliter |  |  | http://purl.obolibrary.org/obo/UO_0000098; http://purl.obolibrary.org/obo/UO_0000033
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | smoothed projected shoot area | The smoothed projected shoot area | sPSA |  |  |  | smoothed projected shoot area_method | The smoothed PSA (sPSA kpixels) is calculated by smoothing the PSA using splines as described by Brien et al. (2020). (cross-reference traits - PSA 'Projected Shoot Area [Trait ID]), described by Brien et al. (2020) (https://doi.org/10.1186/s13007-020-00577-6), employing the R package growthPheno (Brien, 2021c) http://cran.at.r-project.org/package=growthPheno) | kilopixels | kpixels | A thousand pixels quotations
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | absolute smoothed projected shoot area growth rates | The absolute projected shoot area growth rates (kpixels / day) | absolute smoothed PSA growth rates |  |  |  | absolute smoothed projected shoot area growth rates_method | The absolute sPSA growth rates were calculated by differencing consecutive sPSA values, respectively, and dividing by the time differences. (cross-reference traits - sPSA 'smoothed Projected Shoot Area [Trait ID]) | kilopixels/day | kpixels/day | A thousand pixels quotations per day |  |  | http://purl.obolibrary.org/obo/UO_0000033
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | relative smoothed projected shoot area growth rate | The relative projected shoot area growth rates (day) | relative smoothed PSA growth rate |  |  |  | relative smoothed projected shoot area growth rate_method | The relative sPSA growth rates were calculated by differencing consecutive ln(PSA) values, and dividing by the time differences. (cross-reference traits - sPSA 'smoothed Projected Shoot Area [Trait ID]) | day |  | A time unit which is equal to 24 hours. | http://purl.obolibrary.org/obo/UO_0000033
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | projected shoot area for a single time point | The projected shoot area for a single time point |  |  |  |  | projected shoot area for a single time point_method | Calculated as the sum of the number of plant pixels from 3 camera views (LemnaTec Scanalyzer 3D) comprising two side views and aview from above, described by Brien et al. (2020) (https://doi.org/10.1186/s13007-020-00577-6), employing the R package growthPheno (Brien, 2021c) http://cran.at.r-project.org/package=growthPheno) | kilopixels | kpixels | A thousand pixels quotations
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | absolute projected shoot area growth rates for a single time point | The absolute projected shoot area growth rates for a single time point | absolute PSA growth rates for a single time point |  |  |  | absolute projected shoot area growth rates for a single time point_method | The absolute PSA growth rates were calculated by differencing consecutive PSA values, and dividing by the time differences. (cross-reference traits - sPSA 'smoothed Projected Shoot Area [Trait ID]) | kilopixels/day | kpixels/day | A thousand pixels quotations per day |  |  | http://purl.obolibrary.org/obo/UO_0000033
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | relative projected shoot area growth rate for a single time point | The relative projected shoot area growth rates for a single time point | relative PSA growth rate for a single time point |  |  |  | relative projected shoot area growth rate for a single time point_method | The relative PSA growth rates were calculated by differencing consecutive ln(PSA) values, and dividing by the time differences. (cross-reference traits - sPSA 'smoothed Projected Shoot Area [Trait ID]) | per day | /day | A rate, expressing the amount, frequency, or change of a quantity normalized by a time interval of one day (JCGM 200:2012; BIPM, 2019) |  | http://purl.obolibrary.org/obo/UO_0000033
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | absolute projected shoot area growth rates over a time interval | The absolute projected shoot area growth rates over a time interval | absolute PSA growth rates over a time interval |  |  |  | absolute projected shoot area growth rates over a time interval_method | The absolute PSA growth rates were calculated by differencing PSA values at two different time points, t1 and t2, and dividing by the time differences. (cross-reference traits - sPSA 'smoothed Projected Shoot Area [Trait ID]) | kilopixels/day | kpixels/day | A thousand pixels quotations per day
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | relative projected shoot area growth rate over a time interval | The relative projected shoot area growth rates over a time interval | relative PSA growth rate over a time interval |  |  |  | relative projected shoot area growth rate over a time interval_method | The relative PSA growth rates were calculated by differencing ln(PSA) values at two different time points, t1 and t2, and dividing by the time differences. (cross-reference traits - sPSA 'smoothed Projected Shoot Area [Trait ID]) | per day | /day | A rate, expressing the amount, frequency, or change of a quantity normalized by a time interval of one day (JCGM 200:2012; BIPM, 2019) |  | http://purl.obolibrary.org/obo/UO_0000033
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | smoothed projected shoot area for a single time point | The smoothed projected shoot area for a single time point |  |  |  |  | smoothed projected shoot area for a single time point_method | The smoothed PSA (sPSA) is calculated by smoothing the PSA using splines as described by Brien et al. (2020). (cross-reference traits - PSA 'Projected Shoot Area [Trait ID]), described by Brien et al. (2020) (https://doi.org/10.1186/s13007-020-00577-6), employing the R package growthPheno (Brien, 2021c) http://cran.at.r-project.org/package=growthPheno) | kilopixels | kpixels | A thousand pixels quotations
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | absolute smoothed projected shoot area growth rates for a single time point | The absolute smoothed projected shoot area growth rates for a single time point | absolute smoothed PSA growth rates for a single time point |  |  |  | absolute smoothed projected shoot area growth rates for a single time point_method | The absolute sPSA growth rates were calculated by differencing consecutive sPSA values and dividing by the time differences. (cross-reference traits - sPSA 'smoothed Projected Shoot Area [Trait ID]) | kilopixels/day | kpixels/day | A thousand pixels quotations per day
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | relative smoothed projected shoot area growth rate for a single time point | The relative smoothed projected shoot area growth rates for a single time point | relative smoothed PSA growth rate for a single time point |  |  |  | relative smoothed projected shoot area growth rate for a single time point_method | The relative sPSA growth rates were calculated by differencing consecutive ln(sPSA) values, and dividing by the time differences. (cross-reference traits - sPSA 'smoothed Projected Shoot Area [Trait ID]) | per day | /day | A rate, expressing the amount, frequency, or change of a quantity normalized by a time interval of one day (JCGM 200:2012; BIPM, 2019) |  | http://purl.obolibrary.org/obo/UO_0000033
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | absolute smoothed projected shoot area growth rates over a time interval | The absolute smoothed projected shoot area growth rates over a time interval | absolute smoothed PSA growth rates over a time interval |  |  |  | absolute smoothed projected shoot area growth rates over a time interval_method | The absolute sPSA growth rates were calculated by differencing sPSA values at two different time points, t1 and t2, and dividing by the time differences. (cross-reference traits - sPSA 'smoothed Projected Shoot Area [Trait ID]) | kilopixels/day | kpixels/day | A thousand pixels quotations per day
[10 empty] | AU_APPN | Chris Brien |  | English | Wheat | adelaide university | Bettina Berger | wheat | plant | relative smoothed projected shoot area growth rate over a time interval | The relative smoothed projected shoot area growth rates over a time interval | relative smoothed PSA growth rate over a time interval |  |  |  | relative smoothed projected shoot area growth rate over a time interval_method | The relative sPSA growth rates were calculated by differencing ln(sPSA) values at two different time points, t1 and t2, and dividing by the time differences. (cross-reference traits - sPSA 'smoothed Projected Shoot Area [Trait ID]) | per day | /day | A rate, expressing the amount, frequency, or change of a quantity normalized by a time interval of one day (JCGM 200:2012; BIPM, 2019) |  | http://purl.obolibrary.org/obo/UO_0000033